## Sheet1
| Part description | Part ID | Vendor | Number | Price | total cost | Notes
camera | Flea®3 FL3-U3-13Y3M-C ½" Monochrome USB 3.0 Camera | 86-767 | edmund | 1 | 825 | 825 |  | x
lens | 0.5X, 110mm WD CompactTL™ Telecentric Lens | 63-729 | edmund | 1 | 625 | 625 |  | x
nidaq | USB-6001 | USB-6001 | national instruments | 1 | 209 | 209 |  | x
thorlabs base 1 | Aluminum Breadboard 12" x 12" x 1/2", 1/4"-20 Taps | MB12 | thorlabs | 1 | 151 | 151 |  | x
thorlabs base 2 | Aluminum Breadboard 6" x 6" x 1/2", 1/4"-20 Taps | MB6 | thorlabs | 1 | 49.98 | 49.98 |  | x
thorlabs stage micrometer | 1" Travel Micrometer Head with 0.001" Graduations, 5/64" (2.0 mm) Hex | 150-811ST-H | thorlabs | 2 | 78.27 | 156.54 |  | x
thorlabs post | Ø1/2" Aluminum Post, 8-32 Setscrew, 1/4"-20 Tap, L = 2" | TRA2 | thorlabs | 6 | 11.08 | 66.48 |  | x
thorlabs post | Ø1/2" Aluminum Post, 8-32 Setscrew, 1/4"-20 Tap, L = 4" | TRA4 | thorlabs | 6 | 12.04 | 72.24 |  | x
thorlabs post | Ø1/2" Aluminum Post, 8-32 Setscrew, 1/4"-20 Tap, L = 6" | TRA6 | thorlabs | 6 | 13.17 | 79.02 |  | x
thorlabs post holders | Ø1/2" Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L = 4", 5 Pack | PH4-P5 | thorlabs | 1 | 45.85 | 45.85 |  | x
thorlabs base adapter | Ø1.25" Studded Pedestal Base Adapter, 1/4"-20 Thread, 5 Pack | BE1-P5 | thorlabs | 2 | 48.85 | 97.7 |  | x
thorlabs clamps | Clamping Fork, 1.24" Counterbored Slot, Universal, 5 Pack | CF125-P5 | thorlabs | 1 | 42.45 | 42.45 |  | x
thorlabs clamps | Clamping Fork, 0.38" Counterbored Slot, Universal, 5 Pack | CF038-P5 | thorlabs | 1 | 40.19 | 40.19 |  | x
thorlabs ball sockets | Locking Ball and Socket Mount, 8-32 Threaded | TRB1 | thorlabs | 3 | 59.63 | 178.89 |  | x
thorlabs IR filter for camera | FB850-40 - Ø1" Bandpass Filter, CWL = 850 ± 8 nm, FWHM = 40 ± 8 nm | FB850-40 | thorlabs | 1 | 106.11 | 106.11 |  | x
thorlabsled driver | T-Cube LED Driver, 1200 mA Max Drive Current (Power Supply Not Included) | LEDD1B | thorlabs | 1 | 314.13 | 314.13 |  | x
thorlabsled driver power supply | 15 V, 2.4 A Power Supply Unit with 3.5 mm Jack Connector for One K- or T-Cube | KPS101 | thorlabs | 1 | 34.33 | 34.33 |  | x
BNC adapters/cables | BREAKOUT BNC FEMALE-20AWG LEADS | 501-1030-ND | digi-key | 10 | 9 | 90 |  | x
led cable adapter | CABLE PLUG 4POS M8 TPE WIRE | 277-10953-ND | digi-key | 1 | 18.75 | 18.75 |  | x
other illumination leds | emitter ir 860nm 100 ma radial | 475-1200-nd | digi-key | 25 | 0.6312 | 15.78 |  | x
led | High-Power LED Collimator Source, 850nm, 3W, 11mm aperture | LCS-0850-03-11 | mightex | 1 | 375 | 375 |  | x
computers | Dell optiplex 3060 tower + monitor | 210-AOTZ | Dell | 2 | 843.01 | 1686.02 |  | x
computer RAM | memory upgrade for optiplex 3060 tower (Crucial DDR4 16 GB 2 x 8 GB DIMM 288 pin unbuffered ) | 4067362 | CDW | 2 | 95.69 | 191.38 |  | x
5470.84